## GSH-Px
EEA010
Calculation
1.Serum (plasma) and other liquid sample:
Unit definition: The amount of GSH-PX in 0.1 mL of sample that catalyze the consumption of 1 μmol/L GSH with deducting the effect of non-enzyme reaction at 37℃ for 5 minute is defined as 1 unit.
Standard curve
GSH-Px activity (U) = (ΔA412 - b ) ÷ a × (0.23+V) ÷ (0.03+V ) × 0.1* ÷ V × f
Concentration (μmol/L) | OD Value |  | Average OD | Absoluted OD | [6 empty] | 2. Tissue and cells sample:
0 |  |  | #DIV/0! | #DIV/0! | [6 empty] | Unit definition: The amount of GSH-PX in 1 mg of protein that catalyze the consumption of 1 μmol/L GSH with deducting the effect of non-enzyme reaction at 37℃ for 5 minute is defined as 1 unit.
10 |  |  | #DIV/0! | #DIV/0!
20 |  |  | #DIV/0! | #DIV/0! | [6 empty] | GSH-Px activity (U/mgprot) = (ΔA412 - b ) ÷ a × (0.23+V) ÷ (0.03+V ) ÷ ( V × Cpr) × f
40 |  |  | #DIV/0! | #DIV/0! | [6 empty] | [Note]：
50 |  |  | #DIV/0! | #DIV/0! | [6 empty] | y: The absolute OD value of standard;
60 |  |  | #DIV/0! | #DIV/0! | [6 empty] | x: The concentration of standard;
80 |  |  | #DIV/0! | #DIV/0! | [6 empty] | a: The slope of standard curve;
100 |  |  | #DIV/0! | #DIV/0! | [6 empty] | b: The intercept of standard curve.
Plot the standard curve by using OD value of standard and correspondent concentration as y-axis and x-axis respectively.The standard curve is: y= ax + b. | [10 empty] | ΔA412: The absolute OD value of sample (ODNon-enzyme tube-ODEnzyme tube).
(0.23+V)/(0.03+V): Dilution factor of sample in enzymatic reaction.
0.1*: The volume of sample in definition.
V: The volume of sample added to the reaction system.
| a: | #DIV/0! | b: | #DIV/0! | [6 empty] | f: Dilution factor of sample before tested.
Cpr: Concentration of protein in sample (mgprot/mL)
|  | OD Value |  |  | Average OD | △A412 | V/mL | f | Cpr | GSH-Px activity (U or U/mgprot)
Serum (plasma) sample | ODNon-enzyme |  |  |  | #DIV/0! | #DIV/0! |  |  |  | #DIV/0!
| ODEnzyme |  |  |  | #DIV/0!
Tissue and cells sample | ODNon-enzyme |  |  |  | #DIV/0! | #DIV/0! |  |  |  | #DIV/0!
| ODEnzyme |  |  |  | #DIV/0!

## Example analysis
EEA010
Calculation
1.Serum (plasma) and other liquid sample:
Unit definition: The amount of GSH-PX in 0.1 mL of sample that catalyze the consumption of 1 μmol/L GSH with deducting the effect of non-enzyme reaction at 37℃ for 5 minute is defined as 1 unit.
Standard curve
GSH-Px activity (U) = (ΔA412 - b ) ÷ a × (0.23+V) ÷ (0.03+V ) × 0.1* ÷ V × f
Concentration (μmol/L) | OD Value |  | Average OD | Absoluted OD | [6 empty] | 2. Tissue and cells sample:
0 | 0.067 | 0.069 | 0.068 | 0 | [6 empty] | Unit definition: The amount of GSH-PX in 1 mg of protein that catalyze the consumption of 1 μmol/L GSH with deducting the effect of non-enzyme reaction at 37℃ for 5 minute is defined as 1 unit.
10 | 0.108 | 0.11 | 0.109 | 0.041
20 | 0.152 | 0.15 | 0.151 | 0.083 | [6 empty] | GSH-Px activity (U/mgprot) = (ΔA412 - b ) ÷ a × (0.23+V) ÷ (0.03+V ) ÷ ( V × Cpr) × f
40 | 0.233 | 0.23 | 0.2315 | 0.1635 | [6 empty] | [Note]：
50 | 0.278 | 0.274 | 0.276 | 0.208 | [6 empty] | y: The absolute OD value of standard;
60 | 0.317 | 0.315 | 0.316 | 0.248 | [6 empty] | x: The concentration of standard;
80 | 0.4 | 0.4 | 0.4 | 0.332 | [6 empty] | a: The slope of standard curve;
100 | 0.483 | 0.48 | 0.4815 | 0.4135 | [6 empty] | b: The intercept of standard curve.
Plot the standard curve by using OD value of standard and correspondent concentration as y-axis and x-axis respectively.The standard curve is: y= ax + b. | [10 empty] | ΔA412: The absolute OD value of sample (ODNon-enzyme tube-ODEnzyme tube).
(0.23+V)/(0.03+V): Dilution factor of sample in enzymatic reaction.
0.1*: The volume of sample in definition.
V: The volume of sample added to the reaction system.
| a: | 0.0041423 | b: | -0.00027679 | [6 empty] | f: Dilution factor of sample before tested.
Cpr: Concentration of protein in sample (mgprot/mL)
|  | OD Value |  |  | Average OD | △A412 | V/mL | f | Cpr | GSH-Px activity (U or U/mgprot)
Serum (plasma) sample | ODNon-enzyme | 0.359 | 0.353 | 0.355 | 0.35567 | 0.14033 | 0.02 | 4 |  | 3394.5251
| ODEnzyme | 0.228 | 0.203 | 0.215 | 0.21533
Tissue and cells sample | ODNon-enzyme | 0.373 | 0.381 | 0.379 | 0.37767 | 0.14567 | 0.02 | 10 | 4.4 | 20018.6319
| ODEnzyme | 0.231 | 0.232 | 0.233 | 0.232